|  |  | Measurements | Reference Values – Female 8-17 years (Kawel-Boehm et al, 2015) |
| --- | --- | --- | --- |
| LV-EDV/ Corrected EDV |  | ml ml/m2 | 55-95ml/m2 |
| LV-ESV |  | ml | 15-35ml/m2 |
| LV Stroke Volume |  | ml | 34-66ml/m2 |
| LV Ejection Fraction |  | % | 51-75% |
| Cardiac Output |  | L/min | 2.7-5.1 L/min/m2 |
| LV Mass/ Corrected |  | g g/m2 | 35-71g/m2 |
| Native T1 Mapping |  |  |  |
| Extracellular Volume (ECV) |  |  |  |
| T2 Mapping |  |  |  |
| RV-EDV/ Corrected RV-EDV | ml ml/ m2 |  | 58-94ml/m2 |
| RV-ESV | ml |  | 17-37ml/m2 |
| RV Stroke Volume | ml |  | 35-63ml/m2 |
| RV Ejection Fraction | % |  | 55-71% |
| Left Atrial Area on 4-Chamber/ Corrected | cm2 cm2/m2 |  |  |
| Right Atrial Area on 4-Chamber/ Corrected | cm2 cm2/m2 |  |  |