|  | Measurements | Reference Values – Female ≥60 years (Kawel-Boehm et al, 2015) |
| --- | --- | --- |
| LV-EDV/ Corrected EDV | ml ml/m2 | 78-162ml 52-86ml/m2 |
| LV-ESV | ml | 19-57ml |
| LV Stroke Volume | ml | 54-110ml |
| LV Ejection Fraction | % | 60-78% |
| Cardiac Output | L/min |  |
| LV Mass/ Corrected | g g/m2 | 74-146g 48-78g/m2 |
| Native T1 Mapping | msec (Circumferential ROI in the mid-ventricular slice) | 1138-1286msec (This range is specific to the GE 3T Premier Scanner) |
| Extracellular Volume (ECV) | % |  |
| T2 Mapping | msec (Circumferential ROI in the mid-ventricular slice) | 32-53msec (This range is specific to the GE 3T Premier Scanner) |
| RV-EDV/ Corrected RV-EDV | ml ml/m2 | 70-158ml 48-84ml/m2 |
| RV-ESV | ml | 9-61ml |
| RV Stroke Volume | ml | 54-106ml |
| RV Ejection Fraction | % | 58-82% |
| Left Atrial Area on 4-Chamber/ Corrected | cm2 cm2/m2 | 13-27cm2 8-16cm2/m2 |
| Right Atrial Area on 4-Chamber/ Corrected | cm2 cm2/m2 | 14-30cm2 8-16cm2/m2 |