|  | Measurements | Reference Range for Siemens 3T Magnetom Vida Scanner |
| --- | --- | --- |
| Native T1 Mapping | msec (Circumferential ROI in the mid-ventricular slice) | 1162-1290 msec (This range is specific to the Siemens 3T Magnetom Vida Scanner) |
| Extracellular Volume/ ECV | % |  |
| T2 Mapping | msec (Circumferential ROI in the mid-ventricular slice) | 35-45 msec (This range is specific to the Siemens 3T Magnetom Vida Scanner) |